## Sheet1
OBJECTID | line_id | line_name | voltage_kv | status | status_details | year_commissioned | year_upgrade | year_decommissioned | installation | structure_type | no_structures | construction_type | circuits | line_rating_mva | conductor_name | conductor_type | conductor_size_mm2 | contractor | financier | Shape_Length
1 | 58 | Gulu - Agago | 132 | At Planning Stage | Feasibility study completed, RAP Implement ongoing | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 1 | [6 empty] | 52561.2409
2 | 23 | Bujagali - Kawanda | 220 | Operational |  | 2012 |  |  | Overhead | Lattice Tower |  | A | 2 | 205.8 |  | AAAC | 240 |  |  | 71109.0892
3 | 22 | Bujagali - Nalubaale | 132 | Operational |  | 2011 |  |  | Overhead | Lattice Tower |  | D2 | 2 | 205.8 |  |  |  | Jyoti |  | 8364.7905
4 | 1 | Bujagali - Tororo | 132 | Operational |  | 1954 | 2012 |  | Overhead | Lattice Tower | 207 | D2 | 2 | 78 | Tiger | ACSR | 132/20 | BICC |  | 116232.4986
5 | 76 | Kinyara - Kafu | 220 | At Planning Stage | Feasibility study completed | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Sourcing for financing for EPC | 48995.1197
6 | 28 | Fort Portal - Hoima | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | KEC International | Norway | 171539.5906
7 | 45 | Iganga Industrial Park | 132 | At Planning Stage | RAP Implementation ongoing | 2019 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | CAMCE | China Exim Bank | 10376.1979
8 | 29 | Isimba - Bujagali | 132 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | CWE | China Exim Bank | 39945.3715
9 | 87 | Kabulasoke - Kiboga | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 122473.6459
10 | 6 | Kabulasoke - Masaka West | 132 | Operational |  | 1963 |  |  | Overhead | Wooden Poles | 338 | L | 1 | 63.1 |  |  | 125 | BICC |  | 61161.2511
11 | 7 | Kabulasoke - Nkonge | 132 | Operational |  | 1963 |  |  | Overhead | Wooden Poles | 422 | L | 1 | 63.1 |  |  | 125 | BICC |  | 76559.6991
12 | 5 | Kampala North - Mutundwe | 132 | Operational |  | 1959 |  |  | Overhead | Lattice Tower | 36 | D2 | 2 | 79.1 | Lynx | ACSR | 183/42 | BICC |  | 9344.9842
13 | 38 | Kafu - Kawanda | 400 | Under Construction | RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Sinohydro Corporation Ltd. | China Exim Bank | 165411.1241
14 | 40 | Karuma - Lira | 132 | Under Construction | RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Sinohydro Corporation Ltd. | China Exim Bank | 75577.3179
15 | 44 | Karuma - Olwiyo | 400 | At Planning Stage | RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Sinohydro Corporation Ltd. | China Exim Bank | 53694.8479
16 | 30 | Kawanda - Masaka | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | KEC International | World Bank | 137109.6449
17 | 24 | Kawanda - Mutundwe | 132 | Operational |  | 2012 |  |  | Overhead | Lattice Tower |  | DS | 2 | 457 |  | AAAC | 240 | Jyoti |  | 17288.7074
18 | 66 | Mirama - Kikagati | 132 | At Planning Stage | Feasibility study completed, RAP study completed | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Sourcing for financing for EPC | 26939.2622
19 | 53 | Lira - Gulu | 132 | At Planning Stage | RAP Implementation ongoing | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Loan was signed in March 2017 | 96328.7671
20 | 16 | Lugogo - Kampala North | 132 | Operational |  | 1997 |  |  | Overhead | Lattice Tower | 25 | D2 | 2 | 73.2 | Lynx | ACSR | 175 | Grichting/V. |  | 5095.3656
21 | 17 | Lugogo - Mutundwe | 132 | Operational |  | 1997 |  |  | Overhead | Lattice Tower | 46 | T+0 | 2 | 180 | Starling | ACSR | 385 | Phil |  | 10136.3423
22 | 14 | Masaka West - Mutukula | 132 | Operational |  | 1994 |  |  | Overhead | Lattice Tower | 262 | SA | 1 | 73.8 | Tiger | ACSR | 160/26 | Sadelmi |  | 84983.888
23 | 65 | Masaka West - Mutukula (2) | 220 | At Planning Stage | Feasibility study completed, RAP study completed | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Soliciting Funds from KfW/AFD | 81733.5752
24 | 15 | Masaka West - Mbarara North | 132 | Operational |  | 1995 |  |  | Overhead | Lattice Tower | 407 | T | 1 | 151.6 | Goat | ACSR | 300/50 | Siemens |  | 130397.1072
25 | 31 | Mbarara South - Mirama | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Jyoti LtD. | AfDB and JICA | 56558.9601
26 | 49 | Mutundwe - Entebbe | 132 | At Planning Stage | Procurement of EPC contractor ongoing, RAP ongoing | 2019 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | NCC | KfW | 33500.8884
27 | 9 | Mutundwe - Kabulasoke | 132 | Operational |  | 1963 | 2015 |  | Overhead | Wooden Poles | 476 | L | 1 | 63.1 |  | ACSR | 125 | BICC |  | 84327.84
28 | 10 | Nalubale - Lugazi | 66 | Operational |  | 1963 |  |  | Overhead | Lattice Tower | 104 | S | 1 | 10.6 | Racoon | ACSR | 75 | BICC |  | 30494.2063
29 | 18 | Nalubale - Lugogo | 132 | Operational |  | 1998 |  |  | Overhead | Lattice Tower | 243 | T+0 | 2 | 180.6 | Starling | ACSR | 385/35 | Phil |  | 70026.5232
30 | 2 | Nalubale - Namanve | 132 | Operational |  | 1954 |  |  | Overhead | Lattice Tower | 168 | D2 | 1 | 147 | Tiger | ACSR | 160/26 | BICC |  | 57193.0575
31 | 3 | Namanve - Kampala North | 132 | Operational |  | 1954 |  |  | Overhead | Lattice Tower | 38 | D2 | 1 |  | Tiger | ACSR | 160/26 | BICC |  | 12190.8692
32 | 47 | Namanve - Namanve South Industrial Park | 132 | At Planning Stage | RAP Implementation ongoing | 2019 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | CAMCE | China Exim Bank | 4825.3558
33 | 54 | Nebbi - Arua | 132 | At Planning Stage | RAP Implementation ongoing | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Loan was signed in March 2017 | 69209.5896
34 | 11 | Nkonge - Rugonjo | 132 | Operational |  | 1963 |  |  | Overhead | Wooden Poles | 760 | L | 1 | 63.1 |  |  | 125 | BICC |  | 99684.1584
35 | 64 | Kikagati - Nshongezi | 132 | At Planning Stage | Feasibility study completed, RAP study completed | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Sourcing for financing for EPC | 9342.3833
36 | 55 | Olwiyo - Gulu | 132 | At Planning Stage | RAP Implementation ongoing | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Loan was signed in March 2017 | 55160.4467
37 | 56 | Olwiyo - Nebbi | 132 | At Planning Stage | RAP Implementation ongoing | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Loan was signed in March 2017 | 101955.0983
38 | 98 | Olwiyo - Nimule - Juba | 400 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 147723.3511
39 | 50 | Opuyo - Moroto | 132 | At Planning Stage | Procurement of EPC contractor ongoing, RAP ongoing | 2019 |  |  | Overhead | Monopole Tower |  | D2 | 2 | [5 empty] | Islamic Development Bank | 157574.1348
40 | 26 | Queensway T-Off | 132 | Operational | <Null> | 2017 |  |  | Underground | Cable Tunnel |  | Underground | 1 | [6 empty] | 202.3424
41 | 33 | Mirama - Birembo | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Jyoti LtD. | AfDB and JICA | 8464.0045
42 | 46 | Mukono Industrial Park | 132 | At Planning Stage | RAP Implementation ongoing | 2019 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | CAMCE | China Exim Bank | 4067.5453
43 | 79 | Arua - Aru | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 16945.5103
44 | 32 | Mbarara South - Nkenda | 132 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Kalpatru Ltd., Techno Electric Ltd. | AfDB | 156387.0329
45 | 39 | Karuma - Kafu | 400 | Under Construction | RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Sinohydro Corporation Ltd. | China Exim Bank | 82959.8648
46 | 90 | Kawanda - Kasana | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 52724.5314
47 | 101 | Wobulenzi - Kawanda | 220 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 40685.2612
48 | 68 | Nkenda - Mpodwe | 220 | At Planning Stage | Feasibility study completed, RAP study completed | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Soliciting Funds under EAC/EAPP/NELSAP | 72429.5596
49 | 12 | Opuyo - Lira | 132 | Operational |  | 1963 |  |  | Overhead | Wooden Poles | 607 |  | 1 | 63.1 | [5 empty] | 115307.3847
50 | 35 | Opuyo - Lira (2) | 132 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower | 399 | DS | 2 | 63.1 |  |  |  | Kalpatru Ltd. | AfDB | 115248.1552
51 | 4 | Tororo - Lessos (Kenya) | 132 | Operational |  | 1954 |  |  | Overhead | Lattice Tower | 28 | D2 | 2 | 78 |  |  |  | BICC |  | 121429.8852
52 | 36 | Tororo - Lessos (2) (Kenya) | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Jyoti LtD. | AfDB and JICA | 120955.1535
53 | 13 | Tororo - Opuyo | 132 | Operational |  | 1963 |  |  | Overhead | Wooden Poles | 775 |  | 1 | 63.1 | [5 empty] | 147399.2246
54 | 37 | Tororo - Opuyo (2) | 132 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower | 399 | DS | 2 | 63.1 |  |  |  | Kalpatru Ltd. | AfDB | 147392.7492
55 | 57 | Agago - Achwa | 132 | At Planning Stage | Feasibility study completed, RAP Implement ongoing | 2020 |  |  | Overhead | Lattice Tower |  |  | 2 | [6 empty] | 28453.5069
56 | 25 | Namungoona T-Off | 132 | Operational |  | 2013 |  |  | Overhead | Wooden Poles | 3 | D2 | 1 | [6 empty] | 120.2594
57 | 19 | Nalubale - Kiira | 132 | Operational |  | 2007 |  |  | Overhead | Lattice Tower | 3 | D2 | 2 |  |  | ACSR | 385/35 | Phil |  | 828.8578
58 | 20 | Nalubale - Kiira (2) | 132 | Operational |  | 2007 |  |  | Overhead | Lattice Tower | 3 | D2 | 2 |  |  | ACSR | 385/35 | Phil |  | 830.5947
59 | 21 | Nalubale - Kiira (3) | 132 | Operational |  | 2007 |  |  | Overhead | Lattice Tower | 4 | D2 | 2 |  |  | ACSR | 385/35 | Phil |  | 831.1553
60 | 61 | Nebbi - Nyagak | 132 | At Planning Stage |  | 2020 |  |  | Overhead | Lattice Tower |  |  | 2 | [6 empty] | 15268.0403
61 | 84 | Bulambuli - Moroto | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 132533.6893
62 | 96 | Moroto - Kotido | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 98561.2854
63 | 94 | Kotido - Kitgum | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 216094.1683
64 | 77 | Adjumani - Arua | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 145325.8794
65 | 93 | Kitgum - Adjumani | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  |  | 142137.7892
66 | 69 | Mbale - Bulambuli | 132 | At Planning Stage | Feasibility study ongoing | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 66737.3134
67 | 78 | Agago - Kitgum | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 1 | [6 empty] | 52461.719
68 | 48 | Namanve South - Luzira Industrial Park | 132 | At Planning Stage | RAP Implementation ongoing | 2019 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | CAMCE | China Exim Bank | 15450.8858
69 | 59 | Masaka West - Mbarara South | 220 | At Planning Stage | Feasibility study completed | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  | AAAC |  |  | Loan approval by Parliament pending | 131275.3654
70 | 85 | Buloba - Nkenda | 220 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 270677.3244
71 | 92 | Kigoga - Hoima | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 80703.9501
72 | 8 | Rugonjo - Nkenda | 132 | Operational |  | 1963 |  |  | Overhead | Wooden Poles | 760 | L | 1 | 63.1 |  |  |  | BICC |  | 40980.5726
73 | 34 | Nkenda - Fort Portal | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 53204.8428
74 | 4 | Tororo - Lessos | 132 | Operational |  | 1954 |  |  | Overhead | Lattice Tower | 28 | D2 | 2 | 78 |  |  |  | BICC |  | 8767.0784
75 | 36 | Tororo - Lessos (2) | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Jyoti LtD. | AfDB and JICA | 8925.5458
76 | 67 | Mpodwe - Beni (DRC) | 220 | At Planning Stage | Feasibility study completed, RAP study completed | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 60239.9089
77 | 33 | Mirama - Birembo (Rwanda) | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Jyoti LtD. | AfDB and JICA | 7388.5438
78 | 65 | Mutukula - Bukoba - Mwanza (Tanzania) | 220 | At Planning Stage | Feasibility study completed, RAP study completed | 2025 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 69278.7885
79 | 14 | Mutukula - Kyaka (Tanzania) | 132 | Operational |  | 1994 |  |  | Overhead | Lattice Tower | 262 | SA | 1 | 73.8 | Tiger | ACSR | 160/26 | Sadelmi |  | 27921.7316
80 | 52 | Hoima - Kinyara | 220 | At Planning Stage | RAP Implementation ongoing | 2020 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [6 empty] | 43101.6263
81 | 74 | Tororo FVR | 132 | At Planning Stage |  | 2025 |  |  | Overhead | Lattice Tower |  |  | 0 | [6 empty] | 8149.0558
82 | 86 | Ishaka - Kabale | 132 | At Planning Stage |  | 2030 |  |  | Overhead | Lattice Tower |  |  | 0 | [6 empty] | 80426.1842
83 | 51 | Mirama - Kabale | 132 | At Planning Stage | Procurement of EPC contractor ongoing, RAP planned | 2019 |  |  | Overhead | Lattice Tower |  | D2 | 2 | [5 empty] | Islamic Development Bank | 88148.8952
84 | 71 | Kabaale - Kingfisher | 132 | At Planning Stage |  | 2025 |  |  | Overhead | Lattice Tower |  |  | 0 | [6 empty] | 40492.189
85 | 72 | Kabaale - Tilenga | 132 | At Planning Stage |  | 2025 |  |  | Overhead | Lattice Tower |  |  | 0 | [6 empty] | 112368.8655
86 | 70 | Ayago - Oriang | 400 | At Planning Stage |  | 2025 |  |  | Underground | Cable Tunnel | [9 empty] | 18158.3882
87 | 81 | Ayago - Uhuru | 400 | At Planning Stage |  | 2030 |  |  | Underground | Cable Tunnel | [9 empty] | 31483.3136
88 | 80 | Ayago - Kiba | 400 | At Planning Stage |  | 2030 |  |  | Underground | Cable Tunnel |  | Underground | 2 |  |  | XLPE | 1000 |  |  | 9082.7623
89 | 63 | Ayago | 400 | At Planning Stage |  | 2023 |  |  | Underground | Cable Tunnel | [9 empty] | 1919.8072
90 | 95 | Luzira - Gaba | 132 | At Planning Stage |  | 2030 |  |  | <Null> |  |  |  | 0 | [6 empty] | 15772.923
91 | 102 | Wobulenzi - Masaka West | 400 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 151369.7766
92 | 89 | Kapeeka - Kiboga | 220 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 65346.6084
93 | 83 | Bujagali - Wobulenzi | 400 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 82867.6103
94 | 100 | Wobulenzi - Kapeeka | 220 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 31477.9835
95 | 82 | Bujagali - Tororo (3) | 400 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 113313.7328
96 | 75 | Karuma - Tororo | 400 | At Planning Stage | Feasibility study completed | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 331510.5063
97 | 99 | Tororo - Lessos (3) (Kenya) | 400 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 120823.4014
98 | 99 | Tororo - Lessos (3) | 400 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 13962.5632
99 | 41 | Fort Portal Interconnector (1) | 132 | Under Construction |  | 2018 | [6 empty] | 0 | [6 empty] | 362.1127
100 | 42 | Fort Portal Interconnector (2) | 132 | Under Construction |  | 2018 | [6 empty] | 0 | [6 empty] | 407.0848
101 | 43 | Mbarara Interconnector | 132 | Under Construction |  | 2018 | [6 empty] | 0 | [6 empty] | 904.5811
102 | 60 | Muzizi | 132 | At Planning Stage |  | 2020 |  |  | Overhead |  |  |  | 0 | [6 empty] | 4850.8348
103 | 88 | Kafu - Nakasongola | 132 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 60728.0864
104 | 97 | Nakasongola - Kaweweta | 132 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 54047.633
105 | 27 | Bujagali - Tororo (2) | 220 | Under Construction | Under Construction, RAP Implementation ongoing | 2018 |  |  | Overhead | Lattice Tower |  | D2 | 2 |  |  |  |  | Jyoti LtD. | AfDB and JICA | 122804.0526
106 | 62 | Ayago - Olwiyo | 400 | At Planning Stage | Feasibility study completed, RAP study ongoing | 2023 |  |  | Underground | Cable Tunnel |  | Underground | 2 |  |  | XLPE | 1000 |  |  | 8718.5836
107 | 73 | Karuma - Oriang | 400 | At Planning Stage |  | 2025 |  |  | Underground | Cable Tunnel |  | Underground | 2 |  |  | XLPE | 1000 |  |  | 10348.2346
108 | 91 | Kaweweta - Kapeeka | 132 | At Planning Stage |  | 2030 |  |  | Overhead |  |  |  | 0 | [6 empty] | 61677.5544